## Master Task List
Hubitat Master Task List
Combined Hubitat items + Echos Speak carry-over tasks + Gemini 24-hour log analysis
Generation 17 |  | Item 10 completed and moved to completed section.
# | Area | Device / App | Task / Issue | Source | Status
1 | 🔊 Echos Speak | WHA / Group Dispatch | Complete WHA Group Dispatch work. | Echos Speak list | ✅ Complete
23 | 🔊 Echos Speak | app:946 / Bridge | Investigate isolated speak HTTP timeout during the wake-up command burst | 2026-09-25 morning log | ✅ Complete
2 | 🖥️ Echos Speak | Echo Show | Implement/finish Echo Show Display Power support. | Echos Speak list | ✅ Complete
3 | 🔊 Echos Speak | Device Shows / Sensors | Determine proper handling of displayBrightness as it pertains to clocks | Echos Speak list | ✅ Complete
21 | 🌡️ Thermostat | MEM v1.8.10 | Investigate duplicate Morning transition and repeated Office HVAC Safety Clear | 2026-09-25 morning log | ✅ Complete
22 | 🛡️ Mode Manager | Mode Manager Advanced | Fix false HSM desynchronization timeout | 2026-09-25 morning log | ✅ Complete
4 | 🌡️ Thermostat | MEM v1.8.6 / dev:510 | Fix setpoint re-entry / race condition. | Existing investigation | ✅ Complete
5 | 🌡️ Thermostat | MEM v1.8.6 | Debounce evaluatePeriods(). | Gemini PDF Action 3 | ✅ Complete
6 | 🌡️ Thermostat | Centralite Pearl dev:510 | Prevent redundant setpoint writes. | Gemini PDF Action 1 | ✅ Complete
9 | 🌡️ Temp/humid | temp/humid drivers | Reduce routine formatted temperature/humidity logging where appropriate. | 24-hour log evaluation | ✅ Complete
10 | 📊 AirNow AQI | dev:217 | Move polling info event to debug, change AQI updated text. | 24-hour log evaluation | ✅ Complete
11 | 🌡️ Thermostat | AVThermostat / dev:1030 | Investigate stale-temperature health logic and repeated offline/online transitions. | 24-hour log evaluation | ✅ Complete
13 | 🚶 Motion | dev:577 / dev:578 | Check Stairwell Motion re-arm/cooldown behavior; target approx. 30–60 seconds. | Original Hubitat list | ✅ Complete
15 | 🔊 Echos Speak | app:946 / Bridge | Bridge timeout handling / quiet logging. | Echos Speak list | ✅ Complete
16 | 🔊 Echos Speak | app:946 | Legacy GUI cleanup. | Echos Speak list | ✅ Complete
16 | 🔊 Echos Speak | app:946 | W/Sensors level / capability work. | Echos Speak list | ✅ Complete
17 | 🔊 Echos Speak | app:946 | Voice / Speak functionality. | Echos Speak list | ✅ Complete
18 | 🔊 Echos Speak | app:946 | Playback functionality. | Echos Speak list | ✅ Complete
19 | 🔊 Echos Speak | app:946 | Command guards. | Echos Speak list | ✅ Complete
20 | 🔊 Echos Speak | app:946 | Server log review. | Echos Speak list | ✅ Complete
LEGEND
| 🔴 Open / Echos Speak | 🔴 Open / active work | ⬜ Open / lower-priority item | ✅ Complete

## Summary
Hubitat Master Task List — Summary
Generation 7 — Current working inventory
Metric | Count
Total tasks | 21
Open / active | 13
Complete | 8
Original Hubitat items | 4
Echos Speak carry-over items | 9
Gemini-analysis items | 3
24-hour log-analysis items | 4